## Slide 1
earthquake song.mp4

## Slide 2
Seismic Vulnerability Assessment of Existing Buildings and its Importance
Rekha Shrestha, PhD
Structural Engineer
Presentation in NEA-Nepal
7th April 2017
R
ReRekha Shrestha
National Engineer
UNDSS- Nepal
Presentation in SSAFE Training
8th March 2017

## Slide 3: Seismic Vulnerability Assessment
Seismic Vulnerability is a measure of the seismic strength or capacity of the structure.

## Slide 4: SOURCES OF DEFICIENCIES
1. Defects arising from the original design, such as under estimation of loads as per old standard/inadequate detailing
2. Defects arising from original construction, such as under strength concrete, poor compaction, poor construction joint, improper placing of reinforcement and honeycombing
3. Deterioration due to reinforcement corrosion, alkali-aggregate reaction etc

## Slide 5: Level of Seismic Vulnerability Assessment
Nepal and Earthquake
Level-1
Rapid Visual Seismic Assessment (RVSA)
Level-2
Simplified Vulnerability Assessment (SVA)
Level-3
Detailed Vulnerability Assessment (DVA)

## Slide 6: Rapid Visual Seismic Assessment (RVSA)
Nepal and Earthquake
For mass scale screening of existing buildings in the city
Limited to visual inspection and identification of potential seismic defects/deficiencies
Use of checklists

## Slide 7: Simplified Vulnerability Assessment (SVA)
Site Inspection
Study of available drawings
As built drawing preparation (if not provided)
Simplified Calculations

## Slide 8: Detailed Vulnerability Assessment
Visual inspection and study of available documents
Preparation of as built drawings
Detailed in-situ investigation of material strength, defects and deterioration
Modelling and analysis
Retrofitting design if required

## Slide 9: Case studies

## Slide 10
RSVA.docx

## Slide 11
Pal1.docx

## Slide 12: Rapid Seismic Vulnerability assessment of Residence of Load Bearing Wall System Building
Source: Rekha Shrestha

## Slide 13
Kopundole bld.doc

## Slide 15
Source: Rekha Shrestha
8 Feb 2017

## Slide 16
Source: Rekha Shrestha
8 Feb 2017

## Slide 17
Source: Rekha Shrestha
8 Feb 2017

## Slide 18
RSVA-99.doc

## Slide 19: After Gorkha EQ 2015

## Slide 20
Source: Rekha Shrestha

## Slide 21: Damage Grade 4
Source: Rekha Shrestha

## Slide 22
Non-Structural Element

## Slide 23
Non-Structural Element

## Slide 24
Non-Structural Element

## Slide 25
Seismic Vulnerability Evaluation Guideline Part I-final.pdf

## Slide 26: SVA
Qualitative seismic assessment.docx

## Slide 27
Dadheldhura bld.doc

## Slide 28
DVSA.docx

## Slide 32
Source:Rekha Shrestha

## Slide 33: References
Federal Emergency Management Agency, FEMA 154, 1998.
Rapid Visual Screening of Buildings for potential seismic
hazards: a handbook. Applied Technology Council.
Redwood City, California 185p.
2. Seismic vulnerability evaluation guideline for private and
public buildings, Part I: Pre disaster vulnerabilityassessment:
NSET (http://errrp.org.np/document/study_report/
Seismic%20Vulnerability%20Evaluation%20Guideline%
20Part%20I-final.pdf

## Slide 34
Questions?
Source: Rekha Shrestha

## Slide 35
Thank You
rekha.shrestha2010@yahoo.com
Have a Earthquake Resistant House